## Slide 1
Inspiratory Arm
Expiratory Arm
Ventilator
Inspiratory Splitter Box
Expiratory Splitter Box
A
B
Filter
Filter
Patient A Tubing
Patient B Tubing
A
B
Filter
Filter
Patient A Tubing
Patient B Tubing
The goal of this design is to compartmentalize patient tubing so that patients can be added and removed without affecting other patients on the circuit. Thus, all components need to be separated by filters, but self-contained so clinicians aren’t having to attach individual splitter components. Flow control can initially be by a hand-controlled valve. #project-4-way-ventilator, Helpful Engineering (rev v5 8 April 2020)
Flow Meter
Shutoff
PEEP Valve
Flow Meter
PEEP Valve
Splitter
Splitter
1-way
Valve
1-way
Valve
Flow Control
Flow Control
Shutoff

## Slide 2
Ventilator Splitter Box (VSB)
Inspiratory Section
Inspiratory Arm
Expiratory Arm
Ventilator
Patient 4 Flow Control
Expiratory Section
P1 Shutoff
P1 Flow Meter
P1 PEEP
P2 Shutoff
P2 Flow Meter
P2 PEEP
P3 Shutoff
P3 Flow Meter
P3 PEEP
P4 Shutoff
P4 Flow Meter
P3 PEEP
Patient 3 Flow Control
Patient 2 Flow Control
Patient 1 Flow Control
P1 Inspiration
P2 Inspiration
P3 Inspiration
P4 Inspiration
P1 Expiration
P2 Expiration
P3 Expiration
P4 Expiration
VSP VSB Schematics v6
13 April 2020